## Slide 1: Analysis of 9 days dataset – 4th to 12th May
  Expect channels 0 to 22 to be similar (new PMTs), tested by overlapping channels 6 and 7
  Repeated the above for old and new PMTs connected to calo 18 – ch 8 (new) and ch 28 (old)
  A study of channel 8 (new PMT) and 28 (old PMT) connected to calo 18.
  Displayed A1 and A2 on the same plot and A2:A1 separately
  Just mentioned max. range of variation of A1 and A2 (straight line fit did not make sense especially for channel 8).
  Fitted A2:A1 with a straight line as before.
  Finally found an abrupt change in temperature data, so split this dataset into two parts of about 4.5 days each

## Slide 2: Temperature Plots - A1 with optical table temperature
Temperature (oC)
A1 (Normalized)
Something changed abruptly in the laser hall temperature, so used optical table temperature for analysis. Also divided the dataset in 2 sets – 0 to 5700s and 6000s to 12000s.
Set I
Set II

## Slide 3
Channels 6 and 7 - comparison
A2:A1
A1
Purpose – expected that all new PMTs show similar behaviour (these are comparable). Checked channel 6 and 7. Normalized with the mean of first 9 bins.
A2

## Slide 4
Calo 18 – Channels 28 and 8 - comparison
Should show different behaviour (as the PMTs are different and old PMTs use a PMMA return fibre and Silica forward fiber whereas the new one uses only Silica). This is evident here.
A1
A2
A2:A1
Max range = 8.036x10-7/min
Max range = 1.6x10-6/min
Max range = 7.23x10-7/min
Max range = 5.032x10-7/min

## Slide 5
New PMT – Silica fiber both forward and return directions
Temperature studies of channel 8 – Linear fit
A1
A2:A1
A2

## Slide 6
Old PMT – PMMA fiber in the return direction. Thus A2 = Silica forward + PMMA return
Temperature studies of channel 28 – Linear fit
A1
A2
A2:A1

## Slide 7: Investigation for the two sets (or parts) separately
A1 (Normalized)
Set I
Set II
Temperature (oC)
A1 normalized
0 1000 2000 3000 4000 5000
Time (min)

## Slide 8
Calo 18 – Channels 28 and 8 – comparison – Set I
Should show different behaviour (as the PMTs are different and old PMTs use a PMMA return fibre and Silica forward fiber whereas the new one uses only Silica). This is evident here.
A1
A2
A2:A1

## Slide 9
Calo 18 – Channels 28 and 8 – comparison – Set II
Should show different behaviour (as the PMTs are different and old PMTs use a PMMA return fibre and Silica forward fiber whereas the new one uses only Silica). This is evident here.
A2:A1
A2
A1

## Slide 10
Temperature studies of channel 8 – Set 1
A1
A2
A2:A1
New PMT – Silica fiber both forward and return directions

## Slide 11
Old PMT – PMMA fiber in the return direction. Thus A2 = Silica forward + PMMA return
Temperature studies of channel 28 – Set I
A1
A2
A2:A1

## Slide 12: Conclusions
Variation of A1 with temperature shows a negative correlation of PMT gain with temperature (as expected)
A2:A1 is almost constant with time for the (for longer time ranges some the variation appears especially for the old PMTs)
Channels 0 to 23 i.e. the new PMTs (refer slide 9) show a comparatively stable A2:A1 drop with temperature (it ranges from ~0.1% to 0.45%) which is much better than the old PMTs
Old PMTs show a much larger change with temperature (probably expected) – besides the return fiber of all PMTs is a PMMA, which has shown to display a greater loss.

## Slide 13: Back up slides

## Slide 14
Channel 8 – New PMT
Calo 18 - A1 and A2 overlaid and A2:A1
A1 max range = 5.032x10-7/min
A2 max range = 8.036x10-7/min
Channel 28 – Old PMT
A2 max range = 1.6x10-6/min
A1 max range = 7.23x10-7/min
A2:A1
A2:A1

## Slide 15
Drop in gain for rest channels – 0 to 23
A2:A1
A1
A2
Results obtained by linear fits of each channel.

## Slide 16
Used quadratic fit for A1 and A2 – gives better chi2. A cubic fir for A2:A1
Temperature studies of channel 8
A2:A1
A1
A2

## Slide 17
Used higher order fits – gives better chi2 than linear fit. A cubic fir for A2 and A2:A1
Temperature studies of channel 28
A2:A1
A1
A2

## Slide 18: Comparison of Old and New PMTs – Gain drop with temp
Calo 11 Calo 12 Calo 13 Calo 18 Calo 20
Old PMTs
New PMTs
Calo 11 Calo 12 Calo 13 Calo 18 Calo 20
Old PMTs
New PMTs
Results obtained by linear fits of each calorimeter.
A1
A2
A2:A1