## Slide 1: Analysis of Runs 18413
Details of connections related to this run:
  Channel 24 Silica fiber and Channel 23 PMMA
  Run 18413 is 24 hrs
  Run 18413 – no thermal control (refer elog:170)

## Slide 2
LM (after discussion with INO Colleagues)
WFD g-2 (scheda “Corradi”)
Local DAQ (scheda “Napoli”) & eventualmente ai WFD g-2
Fibra PMMA
Fibra quarzo
Foward
Backward
A2=L*F*B, F= forward eff; B=Bacw eff
IF F Gain Sipm should be corrected; IF B no
R=A2/A1  most of the effect due to F  apply to Gain corr
DR=R_PM1/R_PM2 sensitive to B1/B2 (no to Gain corr)
A2

## Slide 3: Temp dependence on A1 – Channel 23
Channel 23, Amplitude 1
Run 18413

## Slide 4: Channel 23 PMMA - amplitudes
A1
A2
A2:A1
Run 18413
Normalized by the value of first bin

## Slide 5: Channel 24 Silica - amplitudes
A1
A2
A2:A1
Run 18413
Normalized by the value of first bin

## Slide 6: Comparing A1 and A2
Run 18413
Normalized by the mean of first 5 bins
A2
A1
PMMA Channel 23
Silica Channel 24
A2
A1

## Slide 7: Comparing channel 23 and 24
A1
A2:A1
A2
Run 18413
Normalized by the mean of first 5 bins

## Slide 8: Conclusions
A1 primarily indicates the gain fluctuation of the PMT, as it is directly connected to the PMT from SM using a silica fiber. As expected (Slide 3) negative correlation with temperature (PMT gain). Slide 7 shows that A1 is similar for channels 23 and 24.
A2 can have additional effects in fluctuation due to forward and reverse fibers to and from the calorimeters respectively. For silica no visible effects on A2 (behind Gain variation), Slide 5.
For PMMA "strange" and significant drop behind Gain variation (Slide 4). No explanation at the moment.
In any case LM correction should be applied only if variation happens in the forward direction.

## Slide 9: Back Up Slides – Studies of run 18422 and Temperature studies

## Slide 10: Temp plots
Run 18413
Run 18422
A2 and Temp

## Slide 11: Checking all channels A1 and A2 overlaid
PMMA Channel 23
Silica Channel 24
Channel 0
Channel 1

## Slide 12: Checking all channels A1 and A2 overlaid
Channel 2
Channel 3
Channel 4
Channel 5

## Slide 13: Channel 23 – Variation with temp
A1
A2
A2:A1
Run 18413

## Slide 14: Channel 24 – Variation with temp
A1
A2:A1
Run 18413
A2

## Slide 15: Temp dependence on A1 – Channel 23
Channel 23, Amplitude 1
Run 18422
-- 29.8
-- 29.7
-- 29.6
--29.5
--29.4
--29.3
--29.2
--29.1
Temperature (oC)
Amp 1

## Slide 16: Channel 23 – Amplitudes
A1
A2
Run 18422
A2:A1

## Slide 17: Channel 24 - amplitudes
A1
A2
A2:A1
Run 18422

## Slide 18: Channel 23 – Variation with temp
A1
A2
Run 18422
A2:A1

## Slide 19: Channel 24 – Variation with temp
A2
A2:A1
Run 18422
A1