## Slide 1: LM Analysis – compare old and new PMT’s –60 hrs Dataset Run# 15921 to 15991 22/4 - 1:09 pm to 25/4 – 2:20 am

## Slide 2: Old and New PMTs
Calorimeter | Old PMT | New PMT
11 | 25 | 5
12 | 26 | 0
13 | 27 | 6
18 | 28 | 8
20 | 29 | 4
Started looking at calo 18 – will look at other after this.

## Slide 3: Temperature Variation
West of laser hut – Calos 0,1 ..4
West wall middle – Calos 11,12,
Essentially for these calos, west of laser hut is ok – red graph in right plot.

## Slide 4: Comparison of old and new PMTs for Calo 18
New PMT – Calo 18, channel 8
Old PMT – Calo 18, channel 28

## Slide 5: Comparison of old and new PMTs for Calo 18
Normalized area first pulse
Normalized area second pulse
Old PMTs almost 2.5 to 3 times greater drop than new ones

## Slide 6: New PMT Channal 8 of calo 18 – Temperature vs. Area ratio
Laser Hut Temperature
Optical Table Temperature
Hall Temperature

## Slide 7: New PMT Ch 8 – Laser hut temperature vs. Areas
Slope of area2 almost 4 times > area1 => area2 contributes to greater loss in the ratio A2:A1

## Slide 8: New PMT Ch 8 – Optical table temperature vs. Areas
Slope of A2 almost 4 times > A1 => A2 contributes to greater loss in the ratio A2:A1

## Slide 9
Channal 8 of calo 18 – Temperature Studies
Hall Temperature

## Slide 10: Old PMT Channal 28 of calo 18 – Temperature vs. Area ratio
Laser Hut Temperature
Optical Table Temperature
Hall Temperature

## Slide 11: Old PMT Ch 28 – Laser hut temperature vs. Areas
Slope of area2 almost 4 times > area1 => area2 contributes to greater loss in the ratio A2:A1

## Slide 12: Old PMT Ch 28 – Optical table temperature vs. Areas
Slope of A2 almost 4 times > A1 => A2 contributes to greater loss in the ratio A2:A1

## Slide 13
Channal 28 of calo 18 – Temperature Studies
Hall Temperature

## Slide 14
Backup slides

## Slide 15
Channal 28 of calo 18 – Temperature Studies
Hall Temperature
I fitted every slice in time to see the effect. Shown for Hall temperature

## Slide 16
Some Studies/Observations – bin size changes error on the profile – e.g. bin 72
Error = 0.028/sqrt(70152)
=1.05e-4
Fine binning. Bin size = 50 min

## Slide 17
Some Studies/Observations – bin size changes error on the profile – e.g. bin 72
Error bin 72 = 1.04e-4

## Slide 18
Some Studies/Observations – bin size changes error on the profile – e.g. bin 28
Error = 0.0289/sqrt(255980)
=5.7e-5
Slightly coarse binning. Bin size = 50 min

## Slide 19
Some Studies/Observations – bin size changes error on the profile – e.g. bin 28
Error bin 28 = 6.7e-5

## Slide 20
Correlation between Ped / area ratio

## Slide 21: All Other Channels
Calo 11
Calo 12
Calo 20
Calo 13